SMARTSHIP SHIPBOARD SIMULATION SYSTEM FAILURES

DDG 58 USS LABOON

Ann Christine Catlin

August 30, 2005

From the electric power generation systems: interesting faults

| 3510000 | TURBINE ASSEMBLY, GAS, SSPU (GARRETT ME831) |
| --- | --- |
|  | GENERATOR SET | MORMON CLAMP FAILED |
|  | PUMP, MAIN PRESS | 3 GTG LOW L/O PRESSURE |
|  | MOTOR AC | TEST/REPAIR GTG AUX PUMP MOTOR |
|  | COUPLING, FLEXIB | NR1 SSGTG COUPLING REPLACEMENT |
|  | VALVE,CONTROL-TE | 2GTG TEMP REG VALVE FAILED |
|  | NOZZLE, FUEL ASS | NR 2 GTG HIGH TEMPS THERMOCOUP |
|  | LOCAL CONTROL PA | 2 LOCOP DAMAGED PWR SUPPLY |
|  | LOCAL CONTROL PA | 3GTG LOCAL FUEL TEMP CARD FAUL |
|  | LOCAL CONTROL PA | #1 GTG WATER WASH SWITCH FAULT |
|  | LOCAL CONTROL PA | NR1 GTG LOCOP RPM METER DEGRAD |
|  | STARTER ASSEMBLY | NR 3 SSGTG STARTER PAD BOLT |
|  | SSGTG NO. 3 NO-B | NR3 GTG NBPS REPLACEMENT |
| 3511000 | GAS TURBINE |
|  | GENERATOR SET SK | DITRERATED GAGE LINE. |
|  | GOVERNOR, ELECTR | #3 GTG WILL NOT ADJUST FREQ |
|  | GOVERNOR, ELECTR | 3 GTG EHGA VLV REPLACEMENT |
|  | ENGINE ASSY GAS | 3 GTG BEARING REPLACEMENT |
|  | ENGINE ASSY GAS | B/A LEAKS ON NR 3 SSGTG |
|  | ENGINE ASSY GAS | NR 2 GTG THERMOCOUPLE TEMP HOT |
|  | ENGINE ASSY GAS | TURBINE TEMPS HIGH 2 GTG |
|  | ENGINE ASSY GAS | 1GTG BLEED AIR/SPLIT LINE LEAK |
|  | ENGINE ASSY GAS | FAULTY THERMAL COUPLE 1 GTG |
|  | ENGINE ASSY GAS | THERMOCOUPLE TERM FAULTY 1GTG |
|  | ENGINE ASSY GAS | FAULTY LUBE OIL PRESSURE READ |
|  | ENGINE ASSY GAS | THERMOCOUPLE TEMPS HIGH |
|  | ENGINE ASSY GAS | FAULTY LUBE OIL PRESSURE READ |
|  | ENGINE ASSY GAS | INSULATION BLANKETS WORN |
| 3530000 | ENCLOSURE ASSEMBLY, BASE |
|  | GAS TURB GEN ENC | DETRERATED GAGR LINE. |
| 3550000 | GENERATOR, AC |
|  | GENERATOR A23938 | 2 GTG ZINCS ERODED AWAY |
|  | GENERATOR A23938 | 3 GTG ZINC ANNODES ERODED |
| 3561000 | CONTROLS & INSTRUMENTS, ELECTRICAL, SSPU |
|  | GAGE, DIFFERENTI | FAULTY DIFF GAGE/SW GTM2B INTA |
| 3574000 | AIR SYSTEM, COOLING |
|  | SSGTG NO.1 COOLI | GTG FAN INOP AT LOCOP |
|  | CONTROLLER (SSGT | FAN TRIPS ON OVERLOAD |
|  | CONTROLLER (SSGT | 3 GTG FAN CAN'T STOP AT LOCOP |
| Check these out for power supply information |
| 3701717 | POWER SUPPLY ASSEMBLY, ENGINE CONTROL |
| 3701718 | POWER SUPPLY ASSEMBLY, ENGINE TRANSDUCER |
| 3706Y00 | POWER SUPPLIES |
| 3706Y10 | POWER SUPPLY, PRIMARY, +28V, +24V PS1 |
| 3706Y30 | POWER SUPPLY, BACKUP, +28V, +24V PS2 |
| 3706Y40 | POWER SUPPLY, PRIMARY, +15V, +5V PS3 |
| 3706Y50 | POWER SUPPLY, BACKUP, +15V, +5V PS4 |

From the electric power distribution systems: interesting faults

| 4000000 | DISTRIBUTION SYSTEMS, ELECTRICAL POWER |
| --- | --- |
|  | CABLE REPAIR ELE | MER2 POWER PANEL CABLE DAMAGE |
|  | MCT CABLE BLOCKS | MCT CABLING BLOCKS BROKEN |
|  | GCCS-M UPS | FAILED GCCS-M UPS |
| 4101000 | SWITCHBOARD, SHIPS SERVICE, 60HZ |
|  | DIST. PANEL | DAMAGE CIRCUIT BRKR ON PANEL |
| 4103000 | SWITCHBOARD, SHIPS SERVICE, 400HZ |
|  | ACSFC INVERTER | BLOWER MOTOR FAILING |
|  | ACSFC INVERTER | FAULTY FAN, CENTRIFUGAL |
|  | FAULT LOAD ISOLA | FAULTY FIU #0637/FWD PWR CNVR |
|  | ACSFC RECTIFIER | FAULTY RECTIFIER MODULE FUSE |
|  | ACSFC RECTIFIER | FAULTY RECTIFIER MODULES 1 & 3 |
|  | ACSFC RECTIFIER | FAULTY RECTIFIER MODULE #4 |
|  | DISTRIBUTION BOX | DIST. BOXES BLOWN FUSES |
|  | FAULT LOAD ISOLA | BAD MODULE OF FIU SN1021 |
|  | 2SF SHIP'S SERVI | AMPMETER INOPERATIVE |
|  | AIR COOLED STATI | #1 SFC MCA |
|  | AIR COOLED STATI | #2 SFC MCA |
|  | CABLE ASSY SHORE | MISSING CHAFFING RAIL |
|  | CABLE ASSY SHORE | MANUF 3 SHORE POWER PIGTAILS |
| 410B000 | DISTRIBUTION BOX | BAD ROTARY SWITCHES |
| 410C000 | GROUNDING STRAP | GRND STRAPS DETERIORATED |
| 410E000 | MAIN IC SWITCHBO | MAIN IC SWBD, BLOWN INDICATORS |
| 4309000 | BUS TRANSFER, AUTOMATIC |
|  | AUTOMATIC BUS TR | 3-254-2 ABT BURNT COMPONENTS |
|  | AUTOMATIC BUS TR | FAULTY GTM2B ABT |
| 4501000 | TRANSFORMERS, LIGHTING DISTRIBUTION |
|  | MOTOR CONTROLLER | VENTILATION SYS S03-143-1 MCA |
|  | EMP ASSY | RPLC DETERIORATED EMP ASSY |
| 4704000 | MOTOR-GENERATOR SET, DC TO 400HZ (OUTPUT) |
|  | SSGTG NO. 1 NO-B | #1 NBPS BURNT CIRCUIT CARDS |
|  | SSGTG NO. 1 NO-B | REPLACE NR1 GTG NBPS |
|  | SSGTG NO. 2 NO-B | NR2 GTG NBPS REPLACEMENT |
| Check these out for power supply |
| 4301400 | POWER SUPPLY, UNINTERRUPTABLE |
| 4700000 | CONVERSION SYSTEM, POWER SUPPLY |
| 470B000 | RECTIFIER, POWER SUPPLY, 400HZ TO DC, IC AND FC |
| 470C000 | RECTIFIER, POWER SUPPLY, 60HZ TO DC, BAT CHG, FORKLIFT |
| 470D000 | RECTIFIER, POWER SUPPLY, PORTABLE BAT CHG, 60HZ TO DC |
| 470E+02 | RECTIFIER, POWER SUPPLY, 60HZ TO DC, CATHODE PROTECT |
| 470F000 | RECTIFIER, POWER SUPPLY, 60HZ TO DC, HELICOPTER START |
| 470G000 | RECTIFIER, POWER SUPPLY, 60HZ TO DC |
| 470G100 | RECTIFIER, POWER SUPPLY, 115V AC INPUT 120V DC OUTPUT |
| 470G3000 | RECTIFIER, POWER SUPPLY, 12/50/28 VDC |
| 470G310 | POWER SUPPLY, 440V AC INPUT 120V DC OUTPUT .5 KW TY A |
| 470G311 | PCB, PC1 |
| 470G312 | PCB, PC2 |
| 470G330 | POWER SUPPLY, 440V AC INPUT 50V DC OUTPUT 1.0 KW TY B |
| 470G340 | POWER SUPPLY, 440V AC INPUT 28V DC OUTPUT 1.0 KW TY G |
| 470G400 | SELECTOR SWITCH, POWER SUPPLY |

From propulsion systems: interesting faults

| D110000 | TURBINE ASSEMBLY, GAS (LM2500) |
| --- | --- |
|  | ASSEMBLY, STARTI | 1A GTRB STARTER DAMAGED |
|  | ASSEMBLY, STARTI | 2A STARTER DAMAGED |
|  | VALVE, PRESSURE | GTM 2B SLOW STARTS |
|  | CONTROL, FUEL | 2A GTM MFC DAMAGED |
|  | CONTROL, FUEL | REPLACE 2B MAIN FUEL CONTROL |
|  | GAS GENERATOR, 2 | 2B GTM SLOW TO ACCELERATE |
|  | SENSOR, CIT | FAULTY CIT SENSOR |
|  | CABLE, MAIN IGNI | WORN IGNITOR CABLE |
|  | CABLE, MAIN IGNI | VSV FEEBACK CABLE BINDING |
|  | CABLE, FEEDBACK | 2A/2B GTM FEEDBACK CABLES BAD |
|  | ACTUATOR, PLA | 2B GG SPEED HIGH FAULTY PLARA |
|  | ACTUATOR, PLA | 1A PLARA FAULTY |
|  | PUMP, FUEL SERVI | INSPECTION AS PER INSERV |
| D111000 | GENERATOR ASSEMBLY, GAS |
|  | GAS GENERATOR 1A | DFS DDG58-01-99 |
|  | GAS GENERATOR 1B | DFS DDG58-02-99 |
|  | GAS GENERATOR, 2 | BOLT POSITION INCORRECT |
|  | GAS GENERATOR 1B | C SUMP VENT/DRN LEAKS |
|  | GAS GENERATOR 1A | #1A GTM DAMAGED POWER CABLE |
|  | GAS GENERATOR 2A | #2A GTM LOOSE SPEED PICKUP |
|  | GAS GENERATOR 2A | #2B GTM LO CHECK VLV LEAKS |
|  | GAS GENERATOR 1A | #1A LOOSE POWER LEADS |
|  | GAS GENERATOR 1B | #1B 28V POWER LEADS LOOSE |
|  | GAS GENERATOR 1A | #1A SALT CORRISION ON BARRIER |
|  | GAS GENERATOR 2A | #2A FTM REPOSITION CLAMP |
|  | GAS GENERATOR 2A | #2A GTM MCA |
|  | GAS GENERATOR, 2 | #2B GTM MCA |
|  | GAS GENERATOR 2A | 2A GTM BROKEN PIPING LP TURBIN |
| D113000 | TURBINE ASSEMBLY, POWER |
|  | POWER TURBINE 2A | #2A GTM CLAMP IS BROKEN |
| D130000 | ENCLOSURE ASSEMBLY, BASE |
|  | BASE ENCLOSURE | MAIN FUEL CONTROL FAULTY |
|  | BASE ENCLOSURE | 2B GTM SLOW TO ACCELERATE |
| D310000 | GEAR ASSEMBLY, MAIN REDUCTION |
|  | CLUTCH, SYNCHRO, | REPLACE 2B SSS CLUTCH |
|  | CLUTCH, SYNCHRO, | 2B SSS CLUTCH BINDING |
|  | VALVE, SOLENOID, | 2B PWR TURBINE BRAKE NO ENGAGE |
|  | PUMP,ATTACHED,MA | #1 ALOP MCA |
|  | PUMP,ATTACHED,RE | #2 ALOP MCA |
| D311000 | GEAR, MAIN REDUCTION |
|  | DEHUMIDIFIER, DS | STBD HUMIDIFIER FAULTY MOTOR |
|  | DEHUMIDIFIER, RE | NR2 DEHUMIDIFIER CRACK WELDS |
|  | DEHUMIDIFIER, RE | BLOWN FUSE |
| D410000 | PROPELLER ASSEMBLY, REVERSIBLE PITCH, CONTROLLABLE |
|  | PUMP, STBY HYDRA | PORT CRP STANDY PMP WEEPS OIL |
|  | GAGE, DIFFERENTI | MN PUMP DP GAGE OOC |
|  | FILTER, MAIN PUM | CRP QUAD FILTERS DIRTY |
|  | FILTER, MAIN PUM | QUAD FILTER NEED CHANGED |
| D414000 | DISTRIBUTION BOX, OIL |
|  | DISTRIBUTION BOX | STBD CRP FAILS TO RESPOND |
|  | DISTRIBUTION BOX | PMS CHK 2451/A-4R |
| D415000 | HYDRAULIC SYSTEM |
|  | ASSEMBLY, HOPM | NR1 ELEC CRP PMP CYCLES INCORR |
|  | CONTROLLER (LUBE | CRP SUMP HEATER FAILED OPERATE |
| D431300 | BEARING ASSEMBLY, STERN TUBE |
|  | SHAFT BRNGS | SHAFT BEARING CLNCS REQD |
|  | SHAFT BRNGS | EVAL MAIN SHAFT BEARING CLNCS |
|  | SHAFT BRNG | VIDEO STAVE BEARING PROFILES |
| D433000 |  |
|  | SHAFT HORSEPOWER | STBD SHAFT TORQUE NEEDS CAL |
|  | SHAFT HORSEPOWER | STBD TORSIONMETER FAULTY |
|  | AFT LINE SHAFT B | RTD'S DEGRADED |
| D500000 | AIR SUPPLY GROUP, COMBUSTION |
|  | 3 SSGTG AIR INTK | 3 GTG AIR INTAKE CORRODED |
| D511000 | SEPARATION SYSTEM, MOISTURE |
|  | MOISTURE SEPARAT | 1A GTM AGGLOMERATORS WORN |
|  | MOISTURE SEPARAT | NR 3 SSGTG AGLOMERATOR FILTERS |
|  | MASKER AIR PIPE | MASKER BELT DRAIN HOSE LEAKS |
| D701000 | SERVICE SYSTEM, FUEL OIL |
|  | FUEL SERVICE PUM | #2B FO SERVICE PUMP MCA |
|  | FUEL SERVICE PUM | #1B FO SERVICE PUMP MCA |
|  | FUEL SERVICE PUM | #1A FO SERVICE PUMP MCA |
|  | FILL & SPLY VLV | ROG 2-FS-V-41 MCA |
|  | FUEL SPLY TO GEN | ROG GFS3-V-6A |
|  | FUEL RETURN ELEC | ROG 2FS-V-48B |
|  | SSGTG #2SPCY | ROG GFS2-V-1 MCA |
|  | MO BHD CO | ROG MD-V-45 MCA |
|  | MO BLG SUCT COV | ROG MD-V-3 MCA |
|  | QUICK CLOSING GA | ROG 1-FS-V-1B MCA |
|  | FILL & SUPPLY | ROG 1-FS-V-41 MCA |
|  | THRUST BRG DRN | ROG OW-V-217 MCA |
|  | SW CLG MN BHD CO | ROG SW-V-6 MCA |
|  | RFR CND SPLY COV | ROG SW-V-411 |
|  | INDICATOR, DIFFE | 1A FIL/SEP DP GAGE FAILED |
|  | INDICATOR, DIFFE | 1B FILT/SEP GAGE FAILED |
|  | ASSEMBLY, CONTRO | MORPAC FUSE HOLDER BROKEN |
|  | FUEL SERVICE PRE | 1A PREFILTER GAGE FAILED |
|  | FUEL SERVICE PRE | 1B PPREFILTER DP GAGE FAILED |
| D801000 | LUBE OIL SERVICE SYSTEM, MAIN REDUCTION GEAR |
|  | PUMP, STANDBY LU | 2B LOSP DISCH. PRESS LOW |
|  | VALVE,RELIEF,DIS | RLF VLV HRYDR TEST REQUIRED |
|  | ELECTROSTATIC PR | PRECIPITATOR LIGHT BURNED OUT |
|  | PUMP,STANDBY LUB | 2A LOSP MECH SEAL FITTING LEAK |
|  | PUMP, STANDBY LU | 2B LOSP MECH SEAL LEAK FITTING |
|  | ELECTROSTATIC PR | PRECIPITATOR LIGHT BURNED OUT |
|  | PUMP,STANDBY LUB | 2A LOSP MECH SEAL FITTING LEAK |
|  | PUMP, STANDBY LU | 2B LOSP MECH SEAL LEAK FITTING |
|  | ELECTROSTATIC PR | PRECIPITATOR LIGHT BURNED OUT |
|  | PUMP,STANDBY LUB | 2A LOSP MECH SEAL FITTING LEAK |
|  | PUMP, STANDBY LU | 2B LOSP MECH SEAL LEAK FITTING |
|  | ELECTROSTATIC PR | PRECIPITATOR LIGHT BURNED OUT |
|  | PUMP,STANDBY LUB | 2A LOSP MECH SEAL FITTING LEAK |
|  | PUMP, STANDBY LU | 2B LOSP MECH SEAL LEAK FITTING |
|  | ELECTROSTATIC PR | PRECIPITATOR LIGHT BURNED OUT |
|  | PUMP,STANDBY LUB | 2A LOSP MECH SEAL FITTING LEAK |
| D803000 | FILL, TRANSFER, PURIFICATION |
|  | LUBE OIL PURIFIE | #2 LOP BROKEN BELTS |
|  | LUBE OIL PURIFIE | NEW BELTS FOR NR1 LOP |
|  | LUBE OIL PURIFIE | LOP FAILS TO FLOW FWD |
|  | LUBE OIL PURIFIE | #2 LO PURIFIER MCA |
|  | CONTROLLER (LUBE | NR2 LOP FLOW SWITCH INOP |
|  | LUBE OIL PURIFIE | THERMOMETER NEEDS CALIBRATION |
|  | LUBE OIL PURIFIE | L.O. PURF #2 DISCH PRES GAGE |
|  | RELIEF VALVE | NR L/O PURIFIER RLF HYDRO TEST |
| D901000 | PIPING, MAIN SEA WATER |
|  | VALVE,DISCHARGE | 8" SWINGCHECK VLV LEAKS BY |
|  | STRAINER,A/C PLA | BRITTLE O-RINGS A/C STRAINERS |
|  | VALVE,CUTOUT,REC | SW-V-31 STEM CRACKED |
|  | OPERATOR,REMOTE | SW-V-215 ROG U-JOINT BROKEN |
|  | SEA VALVE,SW CLG | SW-V-360 SV MCA |
|  | SEA VALVE,PORT S | SW-V-512 SV MCA |
|  | SEA VALVE,STBD S | SW-V-511 SV MCA |
|  | SEA VALVE,PORT S | SW-V-503 SV MCA |
|  | SEA VALVE,PORT S | SW-V-502 SV MCA |
|  | SEA VALVE,NO4 AC | SW-V-518 SV MCA |
| D903000 | PUMP ASSEMBLY |
|  | PUMP, SEAWATER C | #4 MAIN CIRC SW PUMP MCA |
|  | PUMP, SEAWATER C | #1 MAIN CIRC SW PUMP MCA |
|  | PUMP,SEAWATER CO | #3 MAIN CIRC SW PUMP MCA |
|  | PUMP,SEAWATER CO | #5 MAIN CIRC SW PUMP MCA |
|  | PUMP, SEAWATER C | #2 MAIN CIRC SW PUMP MCA |
|  | PUMP UNIT, SEAWA | BRAZE NR 4 CLG PMP SEAL LINE |
|  | MOTOR, SEAWATER | 5 SWS MOTOR HOT |
|  | MOTOR, SEAWATER | REPLACE/INSPECT/TEST 5 SWS |
| DA30000 | CONTROL EQUIPMENT, PROPULSION AND AUXILIARY MACHINERY |
|  | ASSEMBLY, POWER, | FAULTY PACC PWR SUPPLY |
|  | PROPULSION AUXIL | PACC FAULTY PWR SUPPLY |
|  | PROPULSION AUXIL | BELL LOGGER OOC |
|  | PROPULSION AUXIL | PORT PITCH ALARM INTERMITTANT |
| DA60000 | CONTROL EQUIPMENT, SHIPS |
|  | SHAFT CONTROL UN | SCU #1 MCA |
|  | SHAFT CONTROL UN | #2 SCU MCA |
|  | REPAIR STATION C | RSC MCA |
| Check these out for power supply |
| D150C00 | POWER SUPPLY |
| D211100 | POWER SUPPLY |
| DA1H000 | POWER SUPPLY, AC-DC UD 1-1-200-A5 |
| DA1L000 | POWER SUPPLY, AC-DC UD 1-1-200-A8 |
| DA1N000 | POWER SUPPLY, AC-DC UD 1-1-200-A10 |
| DA1Q000 | POWER SUPPLY, AC-DC UD 1-1-200-A12 |
| DA3N000 | POWER SUPPLY, AC-DC UD 1-1-100-A5 |
| DA3P000 | POWER SUPPLY, AC-DC UD 1-1-100-A6 |
| DA3Q000 | POWER SUPPLY, AC-DC UD 1-1-100-A9 |
| DA3R000 | POWER SUPPLY, AC-DC UD 1-1-100-A10 |
| DA7L000 | POWER SUPPLY, AC-DC UD 1-4-130-PS01 |
| DA7M000 | POWER SUPPLY, AC-DC UD 1-4-130-PS02 , etc. |
| DA90000 | ENCLOSURE ASSEMBLY, POWER SUPPLY (PSEA) UD 1-1-900 |
| DA9A000 | MONITOR, PSE POWER UD 1-1-900-A1 |
| DA9B000 | POWER SUPPLY, AC-DC UD 1-1-900-PS1, etc |